## KITS
INTRUSION - AJAX - KITS
Ref. | Image | Description | P.V.P. | P.V.D.
AJ-HUBKIT-W |  | Ajax - Dual via GPRS/LAN wireless control panel - Bidirectional - Grade 2 certificate - Jeweller protocol 868MHz - Kit consisting of: AJ-HUB-W (panel with backup battery), 1 PIR AJ-MOTIONPROTECT-W motion detector, 1 magnetic door/window contact AJ-DOORPROTECT-W and 1 remote control AJ-SPACECONTROL-W - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Compatible with other alarm accessories from our catalogue: up to 100 different devices - Up to 50 users - Power supply 110-250 V AC - Remote access by web app and mobile app - Smartphone application: Ajax Security System - Indoor use - Bracket included - White color | 422 | 211
AJ-HUBKIT-B |  | Ajax - Dual via GPRS/LAN wireless control panel - Bidirectional - Grade 2 certificate - Jeweller protocol 868MHz - Kit consisting of: AJ-HUB-W (panel with backup battery), 1 PIR AJ-MOTIONPROTECT-W motion detector, 1 magnetic door/window contact AJ-DOORPROTECT-W and 1 remote control AJ-SPACECONTROL-W - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Compatible with other alarm accessories from our catalogue: up to 100 different devices - Up to 50 users - Power supply 110-250 V AC - Remote access by web app and mobile app - Smartphone application: Ajax Security System - Indoor use - Bracket included - Black color | 422 | 211
AJ-STARTERKIT-CAM-W |  | Ajax - Triple Wireless Exchange via LAN/Dual SIM - Bidirectional - Grade 2 certificate - Jeweller protocol 868MHz - Kit consisting of: AJ-HUB2-W (panel with backup battery), 1 PIR motion detector with AJ-MOTIONCAM-W camera, 1 magnetic door/window contact AJ-DOORPROTECT-W and 1 remote control AJ-SPACECONTROL-W - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Compatible with other alarm accessories from our catalogue: up to 100 different devices - Up to 50 users - Power supply 110-250 V AC - Remote access by PC software (Ajax PRO) and mobile app (Ajax Security System) - Indoor use - Bracket included - White color | 636 | 318
AJ-STARTERKIT-CAM-B |  | Ajax - Triple Wireless Exchange via LAN/Dual SIM - Bidirectional - Grade 2 certificate - Jeweller protocol 868MHz - Kit consisting of: AJ-HUB2-W (panel with backup battery), 1 PIR motion detector with AJ-MOTIONCAM-W camera, 1 magnetic door/window contact AJ-DOORPROTECT-W and 1 remote control AJ-SPACECONTROL-W - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Compatible with other alarm accessories from our catalogue: up to 100 different devices - Up to 50 users - Power supply 110-250 V AC - Remote access by PC software (Ajax PRO) and mobile app (Ajax Security System) - Indoor use - Bracket included - Black color | 636 | 318
AJ-STARTERKITPLUS-CAM-W |  | Ajax - Triple Wireless Exchange via LAN/Wi-Fi/4GDual SIM - Bidirectional - Grade 2 certificate - Jeweller protocol 868MHz - Kit consisting of: AJ-HUB2PLUS-W (panel with backup battery), 1 PIR motion detector with AJ-MOTIONCAM-W camera, 1 magnetic door/window contact AJ-DOORPROTECT-W and 1 remote control AJ-SPACECONTROL-W - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Compatible with other alarm accessories from our catalogue: up to 200 different devices - Up to 200 users - Power supply 110-250 V AC - Remote access by PC software (Ajax PRO) and mobile app (Ajax Security System) - Indoor use - Bracket included - White color | 873 | 436.5
AJ-BATTERYKIT-12M |  | Ajax - Standalone alarm kit with battery and Hub 2 - Includes AJ-HUB2-DC6V-W and long battery life - Easy installation - Duration up to 12 months | 444 | 222
AJ-BATTERYBOX-7M |  | Ajax - Kit consisting of: BATT-75V-3000WH (battery) and BOX-403022-IP65 (polyester cabinet) - Compatible with Ajax Hub 2 and Hub 2 Plus for standalone operation - Duration up to 7 months | 222 | 111
AJ-BATTERYBOX-14M |  | Ajax - Kit consisting of: BATT-60V-6000WH (battery) and BOX-403022-IP65 (polyester cabinet) - Compatible with Ajax Hub 2 and Hub 2 Plus for standalone operation - Duration up to 14 months | 334 | 167
AJ-STARTERKIT-CAM-4G-W |  | Ajax - Triple via LAN/Dual SIM 4G Wireless Central - Bidirectional - Grade 2 certifate - Jeweller protocol 868MHz - Kit consisting of: AJ-HUB2-4G-W (panel with backup battery), 1 PIR motion detector with AJ-MOTIONCAM-W camera, 1 magnetic door/window contact AJ-DOORPROTECT-W and 1 remote control AJ-SPACECONTROL-W - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Compatible with others Alarm accessories from our catalog: Up to 100 different devices - Up to 50 users - 110-250 V AC power supply - Remote access by PC software (Ajax PRO) and mobile app (Ajax Security System) - Indoor use - Includes stand - White color | 764 | 382
AJ-STARTERKIT-CAM-4G-B |  | Ajax - Triple via LAN/Dual SIM 4G Wireless Central - Bidirectional - Grade 2 certifate - Jeweller protocol 868MHz - Kit consisting of: AJ-HUB2-4G-W (panel with backup battery), 1 PIR motion detector with AJ-MOTIONCAM-W camera, 1 magnetic door/window contact AJ-DOORPROTECT-W and 1 remote control AJ-SPACECONTROL-W - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Compatible with others Alarm accessories from our catalog: Up to 100 different devices - Up to 50 users - 110-250 V AC power supply - Remote access by PC software (Ajax PRO) and mobile app (Ajax Security System) - Indoor use - Includes stand - Black color | 764 | 382
AJAX JEWELLER PRICE LIST
Last updated: 05/10/2023
C. Alberto Sánchez, 31
28052, Madrid - Spain
Telf.: (+39) 06 948 032 24
E-mail: italia@visiotechsecurity.com
Web: https://it.visiotechsecurity.com/it

## CENTRAL
INTRUSION - AJAX - CENTRALS
Ref. | Image | Description | P.V.P. | P.V.D.
AJ-HUB-W |  | Ajax - Dual via GPRS/LAN wireless control panel - Bidirectional - Grade 2 certificate - Jeweller protocol 848MHz - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 100 connected wireless devices - Up to 50 users - Compatible with other alarm accessories in our catalog - Power supply 110-250 V AC - Indoor use - Bracket included - White color | 259 | 129.5
AJ-HUB-B |  | Ajax - Dual via GPRS/LAN wireless control panel - Bidirectional - Grade 2 certificate - Jeweller protocol 848MHz - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 100 connected wireless devices - Up to 50 users - Compatible with other alarm accessories in our catalog - Power supply 110-250 V AC - Indoor use - Bracket included - Black color | 259 | 129.5
AJ-HUB2-W |  | Ajax - Triple wireless control panel via LAN/Dual SIM - Bidirectional - Jeweller protocol 868MHz - Internal antenna free space range 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 100 connected wireless devices and 25 cameras - Up to 50 users - Compatible with AJ-MOTIONCAM-W/B and other alarm accessories from our catalog - Power supply 110-250 V AC - Indoor use - Bracket included - White color | 361 | 180.5
AJ-HUB2-B |  | Ajax - Triple wireless control panel via LAN/Dual SIM - Bidirectional - Jeweller protocol 868MHz - Internal antenna free space range 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 100 connected wireless devices and 25 cameras - Up to 50 users - Compatible with AJ-MOTIONCAM-W/B and other alarm accessories from our catalog - Power supply 110-250 V AC - Indoor use - Bracket included - Black color | 361 | 180.5
AJ-HUB2-4G-W |  | Ajax - Triple Wireless Central via LAN/Dual SIM 4G - Bidirectional - Jeweller Protocol 868MHz - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 100 connected wireless devices and 25 cameras - Up to 50 users - Compatible with AJ-MOTIONCAM-W/B and other alarm accessories from our catalog - Power supply 110-250 V AC - Indoor use - Bracket included - White color | 497 | 248.5
AJ-HUB2-4G-B |  | Ajax - Triple Wireless Central via LAN/Dual SIM 4G - Bidirectional - Jeweller Protocol 868MHz - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 100 connected wireless devices and 25 cameras - Up to 50 users - Compatible with AJ-MOTIONCAM-W/B and other alarm accessories from our catalog - Power supply 110-250 V AC - Indoor use - Bracket included - Black color | 497 | 248.5
AJ-HUB2PLUS-W |  | Ajax - Quad wireless hub via WiFi/LAN/Dual SIM 4G - Bidirectional - Jeweller Protocol 868MHz - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 200 connected wireless devices and 100 cameras - Up to 200 users - Compatible with AJ-MOTIONCAM-W/B and other alarm accessories from our catalog - Power supply 110-250 V AC - Indoor use - Bracket included - White color | 617 | 308.5
AJ-HUB2PLUS-B |  | Ajax - Quad wireless hub via WiFi/LAN/Dual SIM 4G - Bidirectional - Jeweller Protocol 868MHz - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 200 connected wireless devices and 100 cameras - Up to 200 users - Compatible with AJ-MOTIONCAM-W/B and other alarm accessories from our catalog - Power supply 110-250 V AC - Indoor use - Bracket included - Black color | 617 | 308.5
AJ-HUB2-DC6V-W |  | Ajax - Triple wireless control panel via LAN/Dual SIM - Standalone operation without power 220 V AC - Bidirectional - Jeweller Protocol 868MHz - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 100 connected wireless devices and 25 cameras - Up to 50 users - Compatible with AJ-MOTIONCAM-W/B and other alarm accessories from our catalog - Power supply 6 V DC - Indoor use - Bracket included - White color | 344 | 172
AJ-HUB2-4G-DC6V-W |  | Ajax - Triple wireless control panel via LAN/Dual SIM 4G - Standalone operation without power 220 V AC - Bidirectional - Jeweller protocol 868MHz - Internal antenna range open space 2000 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 100 connected wireless devices and 25 cameras - Up to 50 users - Compatible with AJ-MOTIONCAM-W/B and other alarm accessories from our catalog - Power supply 6 V DC - Indoor use - Bracket included - White color | 497 | 248.5
AJAX JEWELLER PRICE LIST
Last update: 05/10/2023
C. Alberto Sánchez, 31
28052, Madrid - Spain
Telf.: (+39) 06 948 032 24
E-mail: italia@visiotechsecurity.com
Web: https://it.visiotechsecurity.com/it

## DETECTORS
INTRUSION - AJAX - DETECTORS
Ref. | Imagen | Descripción | P.V.P. | P.V.D.
AJ-MOTIONCAM-W |  | Ajax - Volumetric PIR photodetector immune to pets - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range open space 1700 m - Motion detection indicator - Detection: Range 12 m / H: 88.5º / V: 80º - Anti-sabotage tamper - Immunity to pets ≤ 20 Kg - Maximum VGA resolution - Sending up to 5 images for each detection - Power supply 2 CR123A 3.0 V batteries (estimated duration 4 years) - Indoor use - Bracket included - Compatible with Ajax Hub 2 - White color | 219 | 109.5
AJ-MOTIONCAM-B |  | Ajax - Volumetric PIR photodetector immune to pets - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range open space 1700 m - Motion detection indicator - Detection: Range 12 m / H: 88.5º / V: 80º - Anti-sabotage tamper - Immunity to pets ≤ 20 Kg - Maximum VGA resolution - Sending up to 5 images for each detection - Power supply 2 CR123A 3.0 V batteries (estimated duration 4 years) - Indoor use - Bracket included - Compatible with Ajax Hub 2 - Black color | 219 | 109.5
AJ-MOTIONCAM-PHOD-W |  | Ajax - Photodetector with image request - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range open space 1700 m - Motion detection indicator - Detection: Range 12 m / H: 88.5º / V: 80º - Tamper anti-aperture - Immunity to pets ? 20 Kg - Maximum VGA resolution - Sending up to 5 images for each detection - Power supply 2 CR123A 3.0 V batteries (estimated duration 4 years) - Indoor use - Bracket included - Compatible with Ajax Hub 2 and Hub 2 Plus - White color | 242 | 121
AJ-MOTIONCAM-PHOD-B |  | Ajax - Photodetector with image request - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range open space 1700 m - Motion detection indicator - Detection: Range 12 m / H: 88.5º / V: 80º - Tamper anti-aperture - Immunity to pets ? 20 Kg - Maximum VGA resolution - Sending up to 5 images for each detection - Power supply 2 CR123A 3.0 V batteries (estimated duration 4 years) - Indoor use - Bracket included - Compatible with Ajax Hub 2 and Hub 2 Plus - Black color | 242 | 121
AJ-MOTIONPROTECT-W |  | Ajax - Volumetric PIR detector immune to pets - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range open space 2000 m - Motion detection indicator - Detection: Range 12 m / H: 88.5º / V: 80º - Anti-sabotage tamper - Immunity to pets ≤ 20 Kg - Power supply 1 battery CR123A 3.0 V (estimated duration 7 years) - Indoor use - Bracket included - White color | 93 | 46.5
AJ-MOTIONPROTECT-B |  | Ajax - Volumetric PIR detector immune to pets - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range open space 2000 m - Motion detection indicator - Detection: Range 12 m / H: 88.5º / V: 80º - Anti-sabotage tamper - Immunity to pets ≤ 20 Kg - Power supply 1 battery CR123A 3.0 V (estimated duration 7 years) - Indoor use - Bracket included - Black color | 93 | 46.5
AJ-MOTIONPROTECTPLUS-W |  | Ajax - Dual Volumetric PIR Pet Immune Technology Detector - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Dual technology: 1 infrared, 1 microwave - Internal antenna range open space 1200 m - Motion detection indicator - Detection: Range 12 m / H: 88.5º / V: 80º - Anti-sabotage tamper - Immunity to pets ≤ 20 Kg - Power supply 1 battery CR123A 3.0 V (estimated duration 5 years) - Indoor use - Bracket included - White color | 135 | 67.5
AJ-MOTIONPROTECTPLUS-B |  | Ajax - Dual Volumetric PIR Pet Immune Technology Detector - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Dual technology: 1 infrared, 1 microwave - Internal antenna range open space 1200 m - Motion detection indicator - Detection: Range 12 m / H: 88.5º / V: 80º - Anti-sabotage tamper - Immunity to pets ≤ 20 Kg - Power supply 1 battery CR123A 3.0 V (estimated duration 5 years) - Indoor use - Bracket included - Black color | 135 | 67.5
AJ-COMBIPROTECT-W |  | Ajax - Pet-immune PIR volumetric detector and glass break detector - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range open space 1200 m - Motion detection indicator - Detection: Range 12 m / H: 88.5º / V: 80º - Anti-sabotage tamper - Immunity to pets ≤ 20 Kg - Power supply 1 CR123A 3.0 V battery (estimated duration 5 years) - Indoor use - Bracket included - White color | 133 | 66.5
AJ-COMBIPROTECT-B |  | Ajax - Pet-immune PIR volumetric detector and glass break detector - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range open space 1200 m - Motion detection indicator - Detection: Range 12 m / H: 88.5º / V: 80º - Anti-sabotage tamper - Immunity to pets ≤ 20 Kg - Power supply 1 CR123A 3.0 V battery (estimated duration 5 years) - Indoor use - Bracket included - Black color | 133 | 66.5
AJ-CURTAINPROTECT-W |  | Ajax - Curtain detector - GRade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Double PIR curtain type - Detection: Range from 6 to 15 m / 6º H / 90º V - Motion detection indicator - Tamper anti-sabotage - Range in open space 1700 m - Power supply 1 CR123A 3.0 V battery (estimated duration 3 years) - Indoor use - Bracket included - White color | 114 | 57
AJ-CURTAINPROTECT-B |  | Ajax - Curtain detector - GRade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Double PIR curtain type - Detection: Range from 6 to 15 m / 6º H / 90º V - Motion detection indicator - Tamper anti-sabotage - Range in open space 1700 m - Power supply 1 CR123A 3.0 V battery (estimated duration 3 years) - Indoor use - Bracket included - Black color | 114 | 57
AJ-MOTIONCAMOUTDOOR-W |  | Ajax - Outdoor photodetector - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Motion detection indicator - Detection: Range 15 m / H: 88.5º / V: 80º - Anti-sabotage tamper - Immunity to pets ≤ 20 Kg - Maximum VGA resolution - Sending up to 5 images for each detection - Power supply 4 CR123A 3.0 V batteries | 369 | 184.5
AJ-MOTIONCAMOUTDOOR-PHOD-W |  | Ajax - Outdoor photodetector with image request - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Motion detection indicator - Detection: Range 15 m / H: 88.5º / V: 80º - Anti-sabotage tamper - Immunity to pets ≤ 20 Kg - Maximum VGA resolution - Sending up to 5 images for each detection - Privacy manager for image request from App - Power supply 4 CR123A 3.0 V batteries | 404 | 202
AJ-OUTDOORPROTECT-W |  | Ajax - Dual PIR outdoor detector immune to pets - Bidirectional - Jeweller protocol 868 MHz - Dual PIR with antimasking - Detection: Range 15 m / 90º - Motion detection indicator - Anti-sabotage tamper - Internal antenna range in open space 1700 m - Immunity to pets ≤ 80 cm - Power supply 2 CR123A 3.0 V batteries (estimated duration 5 years) - Outdoor use - Degree of protection IP54 - Includes support - White color | 300 | 150
AJ-DUALCURTAINOUTDOOR-W |  | Ajax - Outdoor detector type dual curtain immune to pets - Bidirectional - Jeweller protocol 868 MHz - Double PIR type curtain on each side with antimasking - Detection: Range 4~11 m / 6º H - Motion detection indicator - Anti-sabotage tamper - Free space range 1700 m - Power supply 2 CR123A 3.0 V battery (estimated duration 4 years) - Outdoor use - IP54 degree of protection - Bracket included - White color | 317 | 158.5
AJ-DOORPROTECT-W |  | Ajax - Magnetic door/window contact - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1200 m - Indicator detection opening / closing - Supports wired sensor input - Anti-sabotage tamper - Power supply 1 battery CR123A 3.0 V (estimated duration 7 years) - Indoor use - Bracket included - White color | 58 | 29
AJ-DOORPROTECT-B |  | Ajax - Magnetic door/window contact - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1200 m - Indicator detection opening / closing - Supports wired sensor input - Anti-sabotage tamper - Power supply 1 battery CR123A 3.0 V (estimated duration 7 years) - Indoor use - Bracket included - Black color | 58 | 29
AJ-DOORPROTECTPLUS-W |  | Ajax - Magnetic door/window contact with vibration and tilt detection and pulse counter module - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1200 m - Indicator detection opening / closing - Supports wired sensor input - Anti-sabotage tamper - Power supply 1 battery CR123A 3.0 V (estimated duration 7 years) - Indoor use - Bracket included - White color | 86 | 43
AJ-DOORPROTECTPLUS-B |  | Ajax - Magnetic door/window contact with vibration and tilt detection and pulse counter module - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1200 m - Indicator detection opening / closing - Supports wired sensor input - Anti-sabotage tamper - Power supply 1 battery CR123A 3.0 V (estimated duration 7 years) - Indoor use - Bracket included - Black color | 86 | 43
AJ-GLASSPROTECT-W |  | Ajax - Glass break detector - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz- Internal antenna range in open space 1000 m - Detection angle 180º - Breakage detection indicator - Supports wired sensor input - Anti-sabotage tamper - Power supply 1 CR123A 3.0 V battery (estimated duration 7 years) - Indoor use - Bracket included - White color | 93 | 46.5
AJ-GLASSPROTECT-B |  | Ajax - Glass break detector - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz- Internal antenna range in open space 1000 m - Detection angle 180º - Breakage detection indicator - Supports wired sensor input - Anti-sabotage tamper - Power supply 1 CR123A 3.0 V battery (estimated duration 7 years) - Indoor use - Bracket included - Black color | 93 | 46.5
AJ-LEAKSPROTECT-W |  | Ajax - Flood detector - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1000 m - Power supply 2 AAA batteries (estimated duration 5 years) - Indoor use - IP65 - White color | 76 | 38
AJ-LEAKSPROTECT-B |  | Ajax - Flood detector - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1000 m - Power supply 2 AAA batteries (estimated duration 5 years) - Indoor use - IP65 - Black color | 76 | 38
AJ-FIREPROTECT-W |  | Ajax - Smoke detector and temperature sensor - Bidirectional - Jeweller protocol 868 MHz- Internal antenna range in open space 1300 m - Built-in siren 85 dB - Smoke and excess temperature detection indicator - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR2 batteries 3.0 V / 1 CR2032 battery (estimated duration 4 years) - Certificate EN 14604:2005 - Indoor use - Bracket included - White color | 114 | 57
AJ-FIREPROTECT-B |  | Ajax - Smoke detector and temperature sensor - Bidirectional - Jeweller protocol 868 MHz- Internal antenna range in open space 1300 m - Built-in siren 85 dB - Smoke and excess temperature detection indicator - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR2 batteries 3.0 V / 1 CR2032 battery (estimated duration 4 years) - Certificate EN 14604:2005 - Indoor use - Bracket included - Black color | 114 | 57
AJ-FIREPROTECTPLUS-W |  | Ajax - Smoke detector, temperature and carbon monoxide sensor - Bidirectional - Jeweller porotocol 868 MHz - Internal antenna range in open sapce 1300 m - Built-in siren 85 dB - Smoke detection indicator, rapid rise and excess temperature - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR2 batteries 3.0 V / 1 CR2032 battery (estimated duration 4 years) - Certificate EN 14604:2005 - Indoor use - Bracket included - White color | 172 | 86
AJ-FIREPROTECTPLUS-B |  | Ajax - Smoke detector, temperature and carbon monoxide sensor - Bidirectional - Jeweller porotocol 868 MHz - Internal antenna range in open sapce 1300 m - Built-in siren 85 dB - Smoke detection indicator, rapid rise and excess temperature - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR2 batteries 3.0 V / 1 CR2032 battery (estimated duration 4 years) - Certificate EN 14604:2005 - Indoor use - Bracket included - Black color | 172 | 86
AJ-FIREPROTECT2-HS-RB-W |  | Ajax - Smoke detector and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Patented smoke chamber - Alarms for smoke detection, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR123A batteries (pre-installed) - Certified EN 14604- Indoor use - Bracket included - White color | 126 | 63
AJ-FIREPROTECT2-HS-RB-B |  | Ajax - Smoke detector and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Patented smoke chamber - Alarms for smoke detection, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR123A batteries (pre-installed) - Certified EN 14604- Indoor use - Bracket included - Black color | 126 | 63
AJ-FIREPROTECT2-HS-SB-W |  | Ajax - Smoke detector and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Patented smoke chamber - Alarms for smoke detection, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power 2 non-replaceable lithium batteries - Certified EN 14604- Indoor use - Bracket included - White color | 147 | 73.5
AJ-FIREPROTECT2-HS-SB-B |  | Ajax - Smoke detector and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Patented smoke chamber - Alarms for smoke detection, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power 2 non-replaceable lithium batteries - Certified EN 14604- Indoor use - Bracket included - Black color | 147 | 73.5
AJ-FIREPROTECT2-HSC-RB-W |  | Ajax - Smoke detector, CO and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Patented smoke chamber - Alarms for smoke detection, excessive accumulation of CO, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR123A batteries (pre-installed) - Certified EN 14604- Indoor use - Bracket included - White color | 189 | 94.5
AJ-FIREPROTECT2-HSC-RB-B |  | Ajax - Smoke detector, CO and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Patented smoke chamber - Alarms for smoke detection, excessive accumulation of CO, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR123A batteries (pre-installed) - Certified EN 14604- Indoor use - Bracket included - Black color | 189 | 94.5
AJ-FIREPROTECT2-HSC-SB-W |  | Ajax - Smoke detector, CO and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Patented smoke chamber - Alarms for smoke detection, excessive accumulation of CO, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power 2 non-replaceable lithium batteries - Certified EN 14604- Indoor use - Bracket included - White color | 209 | 104.5
AJ-FIREPROTECT2-HSC-SB-B |  | Ajax - Smoke detector, CO and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Patented smoke chamber - Alarms for smoke detection, excessive accumulation of CO, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power 2 non-replaceable lithium batteries - Certified EN 14604- Indoor use - Bracket included - Black color | 209 | 104.5
AJ-FIREPROTECT2-HC-SB-W |  | Ajax - CO detector and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power 2 non-replaceable lithium batteries - Certified EN 14604- Indoor use -Bracket included - White color | 190 | 95
AJ-FIREPROTECT2-HC-SB-B |  | Ajax - CO detector and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power 2 non-replaceable lithium batteries - Certified EN 14604- Indoor use -Bracket included - Black color | 190 | 95
AJ-FIREPROTECT2-H-SB-W |  | Ajax - Temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO, rapid temperature rise and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power 2 non-replaceable lithium batteries - Certified EN 14604- Indoor use - Bracket included - White color | 134 | 67
AJ-FIREPROTECT2-H-SB-B |  | Ajax - Temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO, rapid temperature rise and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power 2 non-replaceable lithium batteries - Certified EN 14604- Indoor use - Bracket included - Black color | 134 | 67
AJ-FIREPROTECT2-C-SB-W |  | Ajax - CO detector - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO - Anti-sabotage tamper - Supports autonomous operation - Power 2 non-replaceable lithium batteries - Certified EN 14604- Indoor use - Bracket included - White color | 188 | 94
AJ-FIREPROTECT2-C-SB-B |  | Ajax - CO detector - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO - Anti-sabotage tamper - Supports autonomous operation - Power 2 non-replaceable lithium batteries - Certified EN 14604- Indoor use - Bracket included - Black color | 188 | 94
AJ-FIREPROTECT2-HC-RB-W |  | Ajax - CO detector and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR123A batteries (pre-installed) - Certified EN 14604- Indoor use -Bracket included - White color | 170 | 85
AJ-FIREPROTECT2-HC-RB-B |  | Ajax - CO detector and temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO, rapid rise in temperature and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR123A batteries (pre-installed) - Certified EN 14604- Indoor use -Bracket included - Black color | 170 | 85
AJ-FIREPROTECT2-H-RB-W |  | Ajax - Temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO, rapid temperature rise and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR123A batteries (pre-installed) - Certified EN 14604- Indoor use - Bracket included - White color | 113 | 56.5
AJ-FIREPROTECT2-H-RB-B |  | Ajax - Temperature sensor - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO, rapid temperature rise and high temperatures - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR123A batteries (pre-installed) - Certified EN 14604- Indoor use - Bracket included - Black color | 113 | 56.5
AJ-FIREPROTECT2-C-RB-W |  | Ajax - CO detector - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR123A batteries (pre-installed) - Certified EN 14604- Indoor use - Bracket included - White color | 169 | 84.5
AJ-FIREPROTECT2-C-RB-B |  | Ajax - CO detector - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in siren 85 dB - Alarms for excessive accumulation of CO - Anti-sabotage tamper - Supports autonomous operation - Power supply 2 CR123A batteries (pre-installed) - Certified EN 14604- Indoor use - Bracket included - Black color | 169 | 84.5
AJAX JEWELLER PRICE LIST
Last update: 05/10/2023
C. Alberto Sánchez, 31
28052, Madrid - Spain
Telf.: (+39) 06 948 032 24
E-mail: italia@visiotechsecurity.com
Web: https://it.visiotechsecurity.com/it

## ACCESORIES
INTRUSION - AJAX - ACCESORIES
Ref. | Image | Description | P.V.P. | P.V.D.
AJ-SPACECONTROL-W |  | Ajax - Multifunction remote control - Certified grade 2 - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1300 m - Functions: Armed, disarmed, partial arming and emergency (SOS) - Power supply 1 battery CR2032 3.0 V (estimated duration 3 years) - White color | 48 | 24
AJ-SPACECONTROL-B |  | Ajax - Multifunction remote control - Certified grade 2 - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1300 m - Functions: Armed, disarmed, partial arming and emergency (SOS) - Power supply 1 battery CR2032 3.0 V (estimated duration 3 years) - Black color | 48 | 24
AJ-BUTTON-W |  | Ajax - Panic button - Bidirectional - Jeweller portocol 868 MHz - Internal antenna range in open space 1300 m - Prevention of false alarms with double press or long press - Power supply 1 battery CR2032 3.0 V (estimated duration 5 years) - White color | 48 | 24
AJ-BUTTON-B |  | Ajax - Panic button - Bidirectional - Jeweller portocol 868 MHz - Internal antenna range in open space 1300 m - Prevention of false alarms with double press or long press - Power supply 1 battery CR2032 3.0 V (estimated duration 5 years) - Black color | 48 | 24
AJ-DOUBLEBUTTON-W |  | Ajax - Double panic button - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1300 m - Prevention of false alarms - Power supply 1 battery CR2032 3.0 V (estimated duration 5 years) - White color | 48 | 24
AJ-DOUBLEBUTTON-B |  | Ajax - Double panic button - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1300 m - Prevention of false alarms - Power supply 1 battery CR2032 3.0 V (estimated duration 5 years) - Black color | 48 | 24
AJ-KEYPAD-W |  | Ajax - Standalone keyboard - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Anti-sabotage tamper - Allows total/partial/disarming by code - Used to protect the panel in a safe place - LED system status indicator - Power supply 4 x AAA 1.5 V Lithium batteries (estimated duration 2 years) - Indoor use - Bracket included - White color | 153 | 76.5
AJ-KEYPAD-B |  | Ajax - Standalone keyboard - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Anti-sabotage tamper - Allows total/partial/disarming by code - Used to protect the panel in a safe place - LED system status indicator - Power supply 4 x AAA 1.5 V Lithium batteries (estimated duration 2 years) - Indoor use - Bracket included - Black color | 153 | 76.5
AJ-KEYPADPLUS-W |  | Ajax - Independent keyboard with RFID card reader/tags - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range free space up to 1700 m - Anti-saboatge tamper - Allows total/partial/disassembly assembly by code, tags and cards - Used to protect the panel in a safe place - LED system status indicator - Power supply 4 AA batteries (FR6) 1.5V Lithium (estimated duration 3.5 years) - Indoor use - Bracket included - White color | 188 | 94
AJ-KEYPADPLUS-B |  | Ajax - Independent keyboard with RFID card reader/tags - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range free space up to 1700 m - Anti-saboatge tamper - Allows total/partial/disassembly assembly by code, tags and cards - Used to protect the panel in a safe place - LED system status indicator - Power supply 4 AA batteries (FR6) 1.5V Lithium (estimated duration 3.5 years) - Indoor use - Bracket included - Black color | 188 | 94
AJ-KEYPADTOUCHSCREEN-W |  | Ajax - Keyboard with IPS touch screen and RFID reader of cards/tags Ajax - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Anti-sabotage tamper and fixing screw - Allows total arming/disassembly, by groups and control of automation scenarios - Authentication control by codes, RFID or Bluetooth reader - Notifications for malfunctions and sounds for alarms or events - LED indicator for Show system status - Power supply 6 AA 1.5V Lithium or 12VDC batteries - Indoor use - Bracket included - White color | 453 | 226.5
AJ-KEYPADTOUCHSCREEN-B |  | Ajax - Keyboard with IPS touch screen and RFID reader of cards/tags Ajax - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Anti-sabotage tamper and fixing screw - Allows total arming/disassembly, by groups and control of automation scenarios - Authentication control by codes, RFID or Bluetooth reader - Notifications for malfunctions and sounds for alarms or events - LED indicator for Show system status - Power supply 6 AA 1.5V Lithium or 12VDC batteries - Indoor use - Bracket included - Black color | 453 | 226.5
AJ-PASS-W |  | Ajax - Contactless access card - MF DESFire® technology - Valid for 13 different Hubs - ISO 14443-А standard (13.56 MHz) - Maximum security, identify users quickly and safely - White color | 10 | 5
AJ-PASS-B |  | Ajax - Contactless access card - MF DESFire® technology - Valid for 13 different Hubs - ISO 14443-А standard (13.56 MHz) - Maximum security, identify users quickly and safely - Black color | 10 | 5
AJ-TAG-W |  | Ajax - Contactless access keychain - MF DESFire® tag - Valid for 13 different Hubs - ISO 14443-А standard (13.56 MHz) - Maximum security, identify users quickly and safely - White color | 10 | 5
AJ-TAG-B |  | Ajax - Contactless access keychain - MF DESFire® tag - Valid for 13 different Hubs - ISO 14443-А standard (13.56 MHz) - Maximum security, identify users quickly and safely - Black color | 10 | 5
AJ-HOMESIREN-W |  | Ajax - Indoor siren - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 2000 m - 81~105 dB at 1 m distance - Maximum sound duration 3 minutes - Alarm warning light and arming/disarming sound signal - Power supply 4 CR123A 3.0 V batteries (estimated duration 5 years) - Bracket included - White color | 102 | 51
AJ-HOMESIREN-B |  | Ajax - Indoor siren - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 2000 m - 81~105 dB at 1 m distance - Maximum sound duration 3 minutes - Alarm warning light and arming/disarming sound signal - Power supply 4 CR123A 3.0 V batteries (estimated duration 5 years) - Bracket included - Black color | 102 | 51
AJ-STREETSIREN-W |  | Ajax - Outdoor siren - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 2000 m - 85~113 dB at 1 m distance - Maximum sound duration 3 minutes - Alarm warning light and arming/disarming - Power supply 4 CR123A 3.0 V batteries (estimated duration 5 years) or external source 12V DC - Suitable for outdoor use - Bracket included - White color | 177 | 88.5
AJ-STREETSIREN-B |  | Ajax - Outdoor siren - Grade 2 certificate - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 2000 m - 85~113 dB at 1 m distance - Maximum sound duration 3 minutes - Alarm warning light and arming/disarming - Power supply 4 CR123A 3.0 V batteries (estimated duration 5 years) or external source 12V DC - Suitable for outdoor use - Bracket included - Black color | 177 | 88.5
AJ-STREETSIRENCUSTOM-W |  | Ajax - Outdoor siren for customizable cover AJ-BRANDPLATES-W - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1500 m - 85~113 dB at 1 m distance - Maximum sound duration 3 minutes - Alarm warning light and arming/disarming - Power supply 4 CR123A 3.0 V batteries (estimated duration 5 years) or external source 12V DC - Suitable for outdoor use - Degree of protection IP55 - Bracket included - Does not include cover AJ-BRANDPLATES-W - White color | 195 | 97.5
AJ-STREETSIRENCUSTOM-B |  | Ajax - Outdoor siren for customizable cover AJ-BRANDPLATES-W - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1500 m - 85~113 dB at 1 m distance - Maximum sound duration 3 minutes - Alarm warning light and arming/disarming - Power supply 4 CR123A 3.0 V batteries (estimated duration 5 years) or external source 12V DC - Suitable for outdoor use - Degree of protection IP55 - Bracket included - Does not include cover AJ-BRANDPLATES-W - Black color | 195 | 97.5
10XAJ-BRANDPLATES-W |  | Ajax - Customizable cover for outdoor siren AJ-STREETSIRENCUSTOM-W - Suitable for outdoor use - Does not include siren AJ-STREETSIRENCUSTOM-W - White color | 116 | 58
10XAJ-BRANDPLATES-B |  | Ajax - Customizable cover for outdoor siren AJ-STREETSIRENCUSTOM-W - Suitable for outdoor use - Does not include siren AJ-STREETSIRENCUSTOM-W - Black color | 116 | 58
AJ-REX-W |  | Ajax - Wireless repeater - Bidirectional - Jeweller protocol 868MHz - Internal antenna range in open space 1800 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 100 connected wireless devices - Compatible with other alarm accessories in our catalog - Power supply 110-240 V AC - Indoor use - Bracket included - White color | 193 | 96.5
AJ-REX-B |  | Ajax - Wireless repeater - Bidirectional - Jeweller protocol 868MHz - Internal antenna range in open space 1800 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 100 connected wireless devices - Compatible with other alarm accessories in our catalog - Power supply 110-240 V AC - Indoor use - Bracket included - Black color | 193 | 96.5
AJ-REX2-W |  | Ajax - Wireless repeater - Bidirectional - Jeweller and Wings protocol 868MHz - Internal antenna range in open space 1700 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 200 connected wireless devices - Compatible with photodetectors - Power supply 110-240 V AC - Indoor use - Bracket inbcluded - White color | 251 | 125.5
AJ-REX2-B |  | Ajax - Wireless repeater - Bidirectional - Jeweller and Wings protocol 868MHz - Internal antenna range in open space 1700 m - Monitoring from 12 s - Anti-sabotage tamper - Anti-inhibition - Backup battery - Supports up to 200 connected wireless devices - Compatible with photodetectors - Power supply 110-240 V AC - Indoor use - Bracket inbcluded - Black color | 251 | 125.5
AJ-TRANSMITTER |  | Ajax - Radio transmitter - Jeweller protocol 868 MHz - Internal antenna range in open space 1600 m - Wired alarm and tamper anti-tamper input - Inhibition detection - Anti-sabotage tamper - Power output 3 V - Power supply 3 CR123A 3.0 V - Compatibility with third-party detectors with wired alarm output | 76 | 38
AJ-MULTITRANSMITTER-3EOL-W |  | Ajax - Wired area expander via radio - Jeweller protocol 868 MHz - Bidirectional - Internal antenna range in open space 2000 m - 18 wired alarm and tamper anti-tamper inputs - Alarm inputs NO, NC, EOL, 2EOL, 3EOL - Inhibition detection - Anti-sabotage tamper - Power output 12 V / 1 A - Power supply 220 VAC and battery backup 4 or 7 Ah (not included) - Compatibility with third-party detectors with wired alarm output - Compatibility 3EOL function with Hub Plus, Hub 2 (2G and 4G), Hub 2 Plus - White color | 227 | 113.5
AJ-MULTITRANSMITTER-3EOL-B |  | Ajax - Wired area expander via radio - Jeweller protocol 868 MHz - Bidirectional - Internal antenna range in open space 2000 m - 18 wired alarm and tamper anti-tamper inputs - Alarm inputs NO, NC, EOL, 2EOL, 3EOL - Inhibition detection - Anti-sabotage tamper - Power output 12 V / 1 A - Power supply 220 VAC and battery backup 4 or 7 Ah (not included) - Compatibility with third-party detectors with wired alarm output - Compatibility 3EOL function with Hub Plus, Hub 2 (2G and 4G), Hub 2 Plus - Black color | 227 | 113.5
AJ-OCBRIDGEPLUS |  | Ajax - Ajax sensor integration module with wired systems - Bidirectional - Jeweller protocol 868 MHz - Compatible with other alarm accessories in our catalog: 8 zones, up to 100 different devices connected - Internal antenna free space range 2000 m - Anti-sabotage tamper - USB power supply (configuration) or 8~14 V - Own device management software: Ajax ocBridge Configurator | 107 | 53.5
AJ-UARTBRIDGE |  | Ajax - Ajax sensor integration module with wired systems and home automation systems - Bidirectional - Jeweller protocol 868 MHz - Compatible with other alarm accessories in our catalog: up to 85 different devices connected - Internal antenna free space range 2000 m - Anti-sabotage tamper - Serial communication (UART interface) with wired system or home automation system - Power supply 5 VDC | 54 | 27
AJ-SOCKET-W |  | Ajax - Smart plug with remote control - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1000 m - Power input/output 110~240 V AC - Maximum output power up to 2.5 kW (11 A) - Incorporates a light indicator according to the level of consumption - Allows to measure consumption - Compact design - White color | 119 | 59.5
AJ-SOCKET-B |  | Ajax - Smart plug with remote control - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1000 m - Power input/output 110~240 V AC - Maximum output power up to 2.5 kW (11 A) - Incorporates a light indicator according to the level of consumption - Allows to measure consumption - Compact design - Black color | 119 | 59.5
AJ-WALLSWITCH-B |  | Ajax - Remote control relay - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1000 m - Power supply 110~240 V AC - Maximum power up to 3 kW (13 A) - Allows consumption to be measured - Designed to be installed in standard mechanism boxes - Black color | 69 | 34.5
AJ-RELAY |  | Ajax - Remote control relay dry contact - Bidirectional - Jeweller protocol 868 MHz - Internal antenna range in open space 1000 m - Input power supply 7~24 V DC - Maximum power up to 3 kW - Designed to be installed in standard mechanism boxes -Black color | 67 | 33.5
AJ-HOLDER-B |  | Ajax - Support for AJ-BUTTON-W and AJ-DOUBLEBUTTON-W - Easy installation - Black color | 7 | 3.5
AJ-HOLDER-W |  | Ajax - Support for AJ-BUTTON-W and AJ-DOUBLEBUTTON-W - Easy installation - White color | 7 | 3.5
AJ-DINHOLDER |  | Ajax - Support for DIN rails - Compatible with AJ-RELAY and AJ-WALLSWITCH - Black color | 13 | 6.5
AJ-HOOD |  | Ajax - Outdoor detector cover AJ-OUTDOORPROTECT-W - Easy installation - White color | 7 | 3.5
AJ-DC6V-PCB2 |  | Power module 6 VDC for Ajax Hub 2 - Input voltage 4.2~16 VDC - Maximum input current 2.2 A (4.2 VDC) - Average consumption per hour 95 mA - Easy installation after replacement on panel board | 41 | 20.5
AJ-DC12V-PCB1 |  | Ajax - 12 VDC power module for Ajax Hub, Hub Plus and ReX - Input voltage 8~20 VDC - Maximum input current 1 A - Average consumption per hour 95 mA - Easy installation after on-board replacement of panels | 41 | 20.5
AJ-DC12V-PCB2 |  | Ajax - Power module 12 VDC for Ajax Hub 2 - Input voltage 8~20 VDC - Maximum input current 1 A - Average consumption per hour 95 mA - Easy installation after replacement on panel board | 41 | 20.5
AJ-DC1224V-PCB1 |  | Ajax - Power module 12-24 VDC for Ajax Hub, Hub Plus and ReX - Input voltage 8~32 VDC - Maximum input current 1 A - Easy installation after on-board replacement of panels | 41 | 20.5
AJ-DC1224V-PCB2 |  | Ajax - Power module 12-24 VDC for Ajax Hub 2, Hub 2 Plus and ReX 2 - Input voltage 8~32 VDC - Maximum input current 1 A - Easy installation after on-board replacement of panels | 41 | 20.5
AJ-SIMCMS |  | Ajax - SIM Card for Ajax Hub - 1 Year Contract - 1 Year Contract with CRA | 254 | 127
FUEL-SAFETYCAP6 |  | Anti-fuel theft cap for trucks with Ajax integration - Detects attempted fuel theft in trucks - SmartBase communication module required for operation - Cap sensor: Accelerometer - Cap diameter 6 cm - 250 mAh cap battery | 124 | 62
FUEL-SAFETYCAP8 |  | Anti-fuel theft cap for trucks with Ajax integration - Detects attempted fuel theft in trucks - SmartBase communication module required for operation - Cap sensor: Accelerometer - Cap diameter 8 cm - 250 mAh cap battery | 124 | 62
FUEL-SAFETYCAP16 |  | Fuel Theft Cap Kit for Trucks - System to integrate with Ajax via a DoorProtect or Transmitter - Detects and notifies attempted fuel theft in trucks - Allows alarm notification audibly and via the Ajax app - Includes a cap and the SmartBase communications module - Cap sensor: Accelerometer - Cap diameter 6 cm - Internal 250 mAh cap battery - Module connections: Alarm, power supply and key contact - External module power supply at 12 VDC-24 VDC - Module dimensions 90 mm x 70 mm x 26 mm | 530 | 265
FUEL-SAFETYCAP18 |  | Fuel theft cap kit for trucks - System to integrate with Ajax via a DoorProtect or Transmitter - Detects and notifies of attempted fuel theft in trucks - Allows alarm notification audibly and through the Ajax app - Includes a cap and SmartBase communication module - Cap sensor: Accelerometer - Cap diameter 8 cm - 250 mAh cap battery - Module connections: Alarm, power supply and key contact - External power supply to 12 VDC-24 VDC module - Module dimensions 90 mm x 70 mm x 26 mm | 530 | 265
FUEL-SAFETYCAP26 |  | Fuel theft cap kit for trucks - System to integrate with Ajax via a DoorProtect or Transmitter - Detects and notifies attempted fuel theft in trucks - Allows alarm notification audibly and via the Ajax app - Includes two caps and SmartBase communication module - Cap sensor: Accelerometer - Diameter of plugs 6 cm - Battery of 250 mAh plugs - Module connections: Alarm, power supply and key contact - External power supply to the module 12 VDC-24 VDC - Module dimensions 90 mm x 70 mm x 26 mm | 792 | 396
FUEL-SAFETYCAP28 |  | Fuel theft cap kit for trucks - System to integrate with Ajax via a DoorProtect or Transmitter - Detects and notifies attempted fuel theft in trucks - Allows alarm notification audibly and via the Ajax app - Includes two caps and SmartBase communication module - Cap sensor: Accelerometer - Diameter of plugs 8 cm - Battery of 250 mAh plugs - Module connections: Alarm, power supply and key contact - External power supply to the module 12 VDC-24 VDC - Module dimensions 90 mm x 70 mm x 26 mm | 792 | 396
WM-BOLT |  | WatchMan Door - Smart bolt with Bluetooth 4.0 and ZigBee connection - High security motorized deadbolt system - Free door opening via APP, integrated piezoelectric button or Bluetooth button - Synchronization with Ajax system when opening or closing from APP WatchManDoor Home - Communication with third-party ZigBee panels - Powered by four AA batteries - Battery status indicator - Configurable automatic lock closing - Users Guests - Report of openings and users - Usual use in empty homes, family and rent - Button for manual opening from outside - Compatible with virtual voice assistants - Installation on the surface and invisible from the outside | 248 | 124
WM-BOLT-WIFI |  | WatchMan Door - Smart bolt with Bluetooth 4.0 and ZigBee connection and WiFi plug - High security motorized deadbolt system - Free door opening via APP, integrated piezoelectric push button and Bluetooth button - Full synchronization with Ajax system - Opening and closing before arming and disarming from the Ajax application - Communication with third-party ZigBee panels - Powered by four AA batteries - Battery status indicator - Automatic lock closing configurable - Guest users - Report of openings and users - Usual use in empty homes, family homes and rent - Button for manual opening from outside - Compatible with virtual voice assistants - Installation on the surface and invisible from the outside | 370 | 185
WM-BUTTON |  | WatchMan Door - Remote button with Bluetooth 4.2 BLE connection - Shaped like a key fob or adjustable bracelet - WM-BOLT smart deadbolt opening and closing function - Power supply with 1 CR2032 battery - IP67 outdoor safe | 38 | 19
WM-LOCK-B |  | WatchMan Door - Smart lock with Bluetooth 4.0 connection - Adjustable height and orientation handle - Door opening via free APP, handle or Bluetooth button - Synchronization with Ajax system when opening or closing from APP WatchManDoor Home - Powered by eight AA batteries - Battery status indicator - Configurable automatic lock closing - Guest users - Report of openings and users - Usual use in empty homes, family and rental - Push button for manual opening from outside - Compatible with virtual voice assistants - Installation on invisible surface from the outside - Black color | 360 | 180
WM-LOCK-W |  | WatchMan Door - Smart lock with Bluetooth 4.0 connection - Adjustable height and orientation handle - Door opening via free APP, handle or Bluetooth button - Synchronization with Ajax system when opening or closing from APP WatchManDoor Home - Powered by eight AA batteries - Battery status indicator - Configurable automatic lock closing - Guest users - Report of openings and users - Usual use in empty homes, family and rental - Push button for manual opening from outside - Compatible with virtual voice assistants - Installation on invisible surface from the outside - White color | 360 | 180
WM-GRAVITY |  | WatchMan Door - Smart lock with Bluetooth 4.0 connection - GPRS, Narrowband and Z-Wave communication - High security lock system - Vibration and intrusion detection - Door opening via free App, manual anti-panic knob or Bluetooth button - Synchronization with Ajax system when opening or closing from App WatchManDoor Home - Powered by four AA batteries - Battery status indicator - Configurable automatic lock closing - Users Guests - Report of openings and users - Usual use in empty homes, family homes and rent - Button for manual opening from outside - Installation on the surface and invisible from the outside | 590 | 295
AJAX JEWELLER PRICE LIST
Last update: 05/10/2023
C. Alberto Sánchez, 31
28052, Madrid - Spain
Telf.: (+39) 06 948 032 24
E-mail: italia@visiotechsecurity.com
Web: https://it.visiotechsecurity.com/it

## SMART HOME
INTRUSION - AJAX - SMART HOME
Ref. | Image | Description | P.V.P. | P.V.D.
AJ-CENTERBUTTON-1G2W-GRE |  | Ajax - Center touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Gray color | 19 | 9.5
AJ-CENTERBUTTON-1G2W-OYS |  | Ajax - Center touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Oyster color | 19 | 9.5
AJ-CENTERBUTTON-1G2W-GRA |  | Ajax - Center touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Graphite color | 19 | 9.5
AJ-CENTERBUTTON-1G2W-IVO |  | Ajax - Center touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Ivory color | 19 | 9.5
AJ-CENTERBUTTON-1G2W-OLI |  | Ajax - Center touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Olive color | 19 | 9.5
AJ-CENTERBUTTON-1G2W-W |  | Ajax - Center touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - White color | 19 | 9.5
AJ-CENTERBUTTON-1G2W-B |  | Ajax - Center touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Black color | 19 | 9.5
AJ-CENTERBUTTON-1G2W-FOG |  | Ajax - Center touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Fog color | 19 | 9.5
AJ-CENTERBUTTON-2G-W |  | Ajax - Center touch panel for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touch panel operation - White color | 20 | 10
AJ-CENTERBUTTON-2G-B |  | Ajax - Center touch panel for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touch panel operation - Black color | 20 | 10
AJ-CENTERBUTTON-2G-GRE |  | Ajax - Center touch panel for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touch panel operation - Grey color | 20 | 10
AJ-CENTERBUTTON-2G-OYS |  | Ajax - Center touch panel for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touch panel operation - Oyster color | 20 | 10
AJ-CENTERBUTTON-2G-GRA |  | Ajax - Center touch panel for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touch panel operation - Graphite color | 20 | 10
AJ-CENTERBUTTON-2G-IVO |  | Ajax - Center touch panel for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touch panel operation - Ivory color | 20 | 10
AJ-CENTERBUTTON-2G-OLI |  | Ajax - Center touch panel for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touch panel operation - Olive color | 20 | 10
AJ-CENTERBUTTON-2G-FOG |  | Ajax - Center touch panel for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touch panel operation - Fog color | 20 | 10
AJ-SIDEBUTTON-1G2W-W |  | Ajax - Side touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - White color | 17 | 8.5
AJ-SIDEBUTTON-1G2W-B |  | Ajax - Side touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Black color | 17 | 8.5
AJ-SIDEBUTTON-1G2W-GRE |  | Ajax - Side touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Grey color | 17 | 8.5
AJ-SIDEBUTTON-1G2W-OYS |  | Ajax - Side touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Oyster color | 17 | 8.5
AJ-SIDEBUTTON-1G2W-GRA |  | Ajax - Side touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Graphite color | 17 | 8.5
AJ-SIDEBUTTON-1G2W-IVO |  | Ajax - Side touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Ivory color | 17 | 8.5
AJ-SIDEBUTTON-1G2W-OLI |  | Ajax - Side touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Olive color | 17 | 8.5
AJ-SIDEBUTTON-1G2W-FOG |  | Ajax - Side touch panel for single (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Fog color | 17 | 8.5
AJ-SIDEBUTTON-2G-B |  | Ajax - Side touchpad for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touchpad operation - Black color | 18 | 9
AJ-SIDEBUTTON-2G-W |  | Ajax - Side touchpad for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touchpad operation - White color | 18 | 9
AJ-SIDEBUTTON-2G-GRE |  | Ajax - Side touchpad for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touchpad operation - Grey color | 18 | 9
AJ-SIDEBUTTON-2G-OYS |  | Ajax - Side touchpad for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touchpad operation - Oyster color | 18 | 9
AJ-SIDEBUTTON-2G-GRA |  | Ajax - Side touchpad for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touchpad operation - Graphite color | 18 | 9
AJ-SIDEBUTTON-2G-IVO |  | Ajax - Side touchpad for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touchpad operation - Ivory color | 18 | 9
AJ-SIDEBUTTON-2G-OLI |  | Ajax - Side touchpad for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touchpad operation - Olive color | 18 | 9
AJ-SIDEBUTTON-2G-FOG |  | Ajax - Side touchpad for dual light switch (AJ-LIGHTCORE-2G) - LED backlight - Non-contact touchpad operation - White color | 18 | 9
AJ-SOLOBUTTON-1G2W-W |  | Ajax - Touchpad for a simple (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - White color | 17 | 8.5
AJ-SOLOBUTTON-1G2W-B |  | Ajax - Touchpad for a simple (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Black color | 17 | 8.5
AJ-SOLOBUTTON-1G2W-GRA |  | Ajax - Touchpad for a simple (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Graphite color | 17 | 8.5
AJ-SOLOBUTTON-1G2W-FOG |  | Ajax - Touchpad for a simple (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Fog color | 17 | 8.5
AJ-SOLOBUTTON-1G2W-OLI |  | Ajax - Touchpad for a simple (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Olive color | 17 | 8.5
AJ-SOLOBUTTON-1G2W-IVO |  | Ajax - Touchpad for a simple (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Ivory color | 17 | 8.5
AJ-SOLOBUTTON-1G2W-OYS |  | Ajax - Touchpad for a simple (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Oyster color | 17 | 8.5
AJ-SOLOBUTTON-1G2W-GRE |  | Ajax - Touchpad for a simple (AJ-LIGHTCORE-1G) or switchable (AJ-LIGHTCORE-2W) light switch - LED backlight - Non-contact touch panel operation - Grey color | 17 | 8.5
AJ-SOLOBUTTON-2G-W |  | Ajax - Touch Panel for Dual Light Switch (AJ-LIGHTCORE-2G) - LED Backlight - Non-Contact Touch Panel Operation - White color | 20 | 10
AJ-SOLOBUTTON-2G-B |  | Ajax - Touch Panel for Dual Light Switch (AJ-LIGHTCORE-2G) - LED Backlight - Non-Contact Touch Panel Operation - Black color | 20 | 10
AJ-SOLOBUTTON-2G-OLI |  | Ajax - Touch Panel for Dual Light Switch (AJ-LIGHTCORE-2G) - LED Backlight - Non-Contact Touch Panel Operation - Olive color | 20 | 10
AJ-SOLOBUTTON-2G-OYS |  | Ajax - Touch Panel for Dual Light Switch (AJ-LIGHTCORE-2G) - LED Backlight - Non-Contact Touch Panel Operation - Oyster color | 20 | 10
AJ-SOLOBUTTON-2G-GRA |  | Ajax - Touch Panel for Dual Light Switch (AJ-LIGHTCORE-2G) - LED Backlight - Non-Contact Touch Panel Operation - Graphite color | 20 | 10
AJ-SOLOBUTTON-2G-FOG |  | Ajax - Touch Panel for Dual Light Switch (AJ-LIGHTCORE-2G) - LED Backlight - Non-Contact Touch Panel Operation - Fog color | 20 | 10
AJ-SOLOBUTTON-2G-GRE |  | Ajax - Touch Panel for Dual Light Switch (AJ-LIGHTCORE-2G) - LED Backlight - Non-Contact Touch Panel Operation - Grey color | 20 | 10
AJ-SOLOBUTTON-2G-IVO |  | Ajax - Touch Panel for Dual Light Switch (AJ-LIGHTCORE-2G) - LED Backlight - Non-Contact Touch Panel Operation - Ivory color | 20 | 10
AJ-LIGHTCORE-2W |  | Ajax - Switchable Smart Light Switch Relay (2 directions) - Bidirectional - Jeweller protocol 868 MHz - Radio communication range 1100 m - Power supply 230 ~ V AC - No neutral cable needed to operate - Activates when you bring your hand within 15 mm of the touch panel | 107 | 53.5
AJ-LIGHTCORE-2G |  | Ajax - Dual Smart Light Switch Relay - Bidirectional - Jeweller protocol 868 MHz - Radio communication range 1100 m - Power supply 230~V AC - No neutral cable needed to operate - Activates when you bring your hand within 15 mm of the touch panel | 116 | 58
AJ-LIGHTCORE-1G |  | Ajax - Simple Smart Light Switch Relay - Bidirectional - Jeweller protocol 868 MHz - Radio communication range 1100 m - Power supply 230~V AC - No neutral cable needed to operate - Activates when you bring your hand within 15 mm of the touch panel | 100 | 50
AJ-FRAME-2 |  | Ajax - Switch Frame (2 x AJ-SIDEBUTTON) | 11 | 5.5
AJ-FRAME-3 |  | Ajax - Frame for three switches (2 x AJ-SIDEBUTTON and 1 x AJ-CENTERBUTTON) | 13 | 6.5
AJ-FRAME-4 |  | Ajax - Frame for three switches (2 x AJ-SIDEBUTTON and 2 x AJ-CENTERBUTTON) | 16 | 8
AJ-FRAME-5 |  | Ajax - Frame for three switches (2 x AJ-SIDEBUTTON and 3 x AJ-CENTERBUTTON) | 18 | 9
AJ-LIFEQUALITY-B |  | Ajax - CO2, Temperature and Humidity Monitor - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in accelerometer for tamper protection - Temperature measurement range between 0 and +50 ºC - Humidity measurement range between 0 and 100% - CO2 measurement range between 400 and 5000 ppm - Has temperature diagrams, Humidity and CO2 - LED system status indicator - Power supply 2 CR123A batteries - Indoor use - Bracket included - Black color | 446 | 223
AJ-LIFEQUALITY-W |  | Ajax - CO2, Temperature and Humidity Monitor - Jeweller protocol 868 MHz - Internal antenna range in open space 1700 m - Built-in accelerometer for tamper protection - Temperature measurement range between 0 and +50 ºC - Humidity measurement range between 0 and 100% - CO2 measurement range between 400 and 5000 ppm - Has temperature diagrams, Humidity and CO2 - LED system status indicator - Power supply 2 CR123A batteries - Indoor use - Bracket included - White color | 446 | 223
AJ-WATERSTOP-1-W |  | Ajax - Water shut-off solenoid valve with remote control - Bidirectional - Jeweller protocol 868 MHz - Communication range in open space 1.100 m - 1 inch valve (DN 25) - Compatible with hot and cold water pipes - Valve closing in less than 5 seconds - Remote and manual control - Compatible with automation scenarios - Power with pre-installed or external batteries at 7.5~14 V DC - White color | 419 | 209.5
AJ-WATERSTOP-1-B |  | Ajax - Water shut-off solenoid valve with remote control - Bidirectional - Jeweller protocol 868 MHz - Communication range in open space 1.100 m - 1 inch valve (DN 25) - Compatible with hot and cold water pipes - Valve closing in less than 5 seconds - Remote and manual control - Compatible with automation scenarios - Power with pre-installed or external batteries at 7.5~14 V DC - Black color | 419 | 209.5
AJ-WATERSTOP-3/4-W |  | Ajax - Water shut-off solenoid valve with remote control - Bidirectional - Jeweller protocol 868 MHz - Communication range in open space 1.100 m - 3/4 inch valve (DN 20) - Compatible with hot and cold water pipes - Valve closing in less than 5 seconds - Remote and manual control - Compatible with automation scenarios - Power with pre-installed or external batteries at 7.5~14 V DC - White color | 357 | 178.5
AJ-WATERSTOP-3/4-B |  | Ajax - Water shut-off solenoid valve with remote control - Bidirectional - Jeweller protocol 868 MHz - Communication range in open space 1.100 m - 3/4 inch valve (DN 20) - Compatible with hot and cold water pipes - Valve closing in less than 5 seconds - Remote and manual control - Compatible with automation scenarios - Power with pre-installed or external batteries at 7.5~14 V DC - Black color | 357 | 178.5
AJ-WATERSTOP-1/2-W |  | Ajax - Water shut-off solenoid valve with remote control - Bidirectional - Jeweller protocol 868 MHz - Communication range in free space 1.100 m - 1/2 inch valve (DN 15) - Compatible with hot and cold water pipes - Valve closure in less than 5 seconds - Remote and manual control - Compatible with automation scenarios - Power with pre-installed or external batteries at 7.5~14 V DC - White color | 317 | 158.5
AJ-WATERSTOP-1/2-B |  | Ajax - Water shut-off solenoid valve with remote control - Bidirectional - Jeweller protocol 868 MHz - Communication range in free space 1.100 m - 1/2 inch valve (DN 15) - Compatible with hot and cold water pipes - Valve closure in less than 5 seconds - Remote and manual control - Compatible with automation scenarios - Power with pre-installed or external batteries at 7.5~14 V DC - Black color | 317 | 158.5
AJAX JEWELLER PRICE LIST
Last update: 05/10/2023
C. Alberto Sánchez, 31
28052, Madrid - Spain
Telf.: (+39) 06 948 032 24
E-mail: italia@visiotechsecurity.com
Web: https://it.visiotechsecurity.com/it

## SPARE PARTS
INTRUSION - AJAX - SPARE PARTS
Ref. | Image | Description | P.V.P. | P.V.D.
AJ-BRACKETKP-W |  | Ajax - Replacement bracket for AJ-KEYPAD-W - White color | 10.8 | 5.4
AJ-BRACKETKP-B |  | Ajax - Replacement bracket for AJ-KEYPAD-B - Black color | 10.8 | 5.4
AJ-BRACKETDP-W |  | Ajax - Replacement bracket for AJ-DOORPROTECT-W, AJ-DOORPROTECTPLUS-W and AJ-GLASSPROTECT-W - White color | 5.4 | 2.7
AJ-BRACKETDP-B |  | Ajax - Replacement bracket for AJ-DOORPROTECT-B, AJ-DOORPROTECTPLUS-B and AJ-GLASSPROTECT-B - Black color | 5.4 | 2.7
AJ-BRACKETFP-W |  | Ajax - Replacement bracket for AJ-FIREPROTECT-W and AJ-FIREPROTECTPLUS-W - White color | 7.2 | 3.6
AJ-BRACKETFP-B |  | Ajax - Replacement bracket for AJ-FIREPROTECT-B and AJ-FIREPROTECTPLUS-B - Black color | 7.2 | 3.6
AJ-BRACKETHUB-W |  | Ajax - Replacement bracket for AJ-HUB-W, AJ-HUBPLUS-W, AJ-HUB2-W, AJ-HUB2-4G-W, AJ-HUB2PLUS-W, AJ-REX-W y AJ-REX2-W - White color | 14.4 | 7.2
AJ-BRACKETHUB-B |  | Ajax - Replacement bracket for AJ-HUB-B, AJ-HUBPLUS-B, AJ-HUB2-B, AJ-HUB2-4G-B, AJ-HUB2PLUS-B, AJ-REX-B y AJ-REX2-B - Black color | 14.4 | 7.2
AJ-BRACKETHS-W |  | Ajax - Replacement bracket for AJ-HOMESIREN-W - White color | 14.4 | 7.2
AJ-BRACKETHS-B |  | Ajax - Replacement bracket for AJ-HOMESIREN-B - Black color | 14.4 | 7.2
AJ-BRACKETSS-W |  | Ajax - Replacement bracket for AJ-STREETSIREN-W - White color | 14.4 | 7.2
AJ-BRACKETSS-B |  | Ajax - Replacement bracket for AJ-STREETSIREN-B - Black color | 14.4 | 7.2
AJ-BRACKETMAGNETDP-W |  | Ajax - Magnet holder for AJ-DOORPROTECT-B, AJ-DOORPROTECTPLUS-B - Detector not included - Black color | 5.4 | 2.7
AJ-BRACKETMC-W |  | Ajax - Replacement bracket for AJ-MOTIONCAM-W - White color | 6.8 | 3.4
AJ-BRACKETMC-B |  | Ajax - Replacement bracket for AJ-MOTIONCAM-B - Black color | 6.8 | 3.4
AJ-BRACKETMCO-W |  | Ajax - Replacement bracket for AJ-MOTIONCAMOUTDOOR-W - White color | 18 | 9
AJ-BRACKETMP-B |  | Ajax - Replacement bracket for AJ-MOTIONPROTECT-B, AJ-MOTIONPROTECTPLUS-B and AJ-COMBIPROTECT-B - Black color | 7.2 | 3.6
AJ-BRACKETMP-W |  | Ajax - Replacement bracket for AJ-MOTIONPROTECT-W, AJ-MOTIONPROTECTPLUS-W and AJ-COMBIPROTECT-W - White color | 7.2 | 3.6
AJ-BRACKETMPC-B |  | Ajax - Replacement bracket for AJ-CURTAINPROTECT-B - Black color | 9 | 4.5
AJ-BRACKETMPC-W |  | Ajax - Replacement bracket for AJ-CURTAINPROTECT-W - White color | 9 | 4.5
AJ-BRACKETMPO-W |  | Ajax - Replacement bracket for AJ-OUTDOORPROTECT-W - White color | 7.2 | 3.6
AJ-COMBIPROTECT-B-DUMMY |  | Ajax - Replacement housing for AJ-COMBIPROTECT-B - Black color | 14 | 7
AJ-COMBIPROTECT-W-DUMMY |  | Ajax - Replacement housing for AJ-COMBIPROTECT-W - White color | 14 | 7
AJ-CURTAINPROTECT-B-DUMMY |  | Ajax - Replacement housing for AJ-CURTAINPROTECT-B - Black color | 24 | 12
AJ-CURTAINPROTECT-W-DUMMY |  | Ajax - Replacement housing for AJ-CURTAINPROTECT-W - White color | 24 | 12
AJ-HOMESIREN-W-DUMMY |  | Ajax - Replacement housing for AJ-HOMESIREN-W - White color | 16.2 | 8.1
AJ-HOMESIREN-B-DUMMY |  | Ajax - Replacement housing for AJ-HOMESIREN-B - Black color | 16.2 | 8.1
AJ-DOORPROTECT-B-DUMMY |  | Ajax - Replacement housing for AJ-DOORPROTECT-B, AJ-DOORPROTECTPLUS-B and AJ-GLASSPROTECT-B - Black color | 7.2 | 3.6
AJ-DOORPROTECT-W-DUMMY |  | Ajax - Replacement housing for AJ-DOORPROTECT-W, AJ-DOORPROTECTPLUS-W and AJ-GLASSPROTECT-W - White color | 7.2 | 3.6
AJ-FIREPROTECT-B-DUMMY |  | Ajax - Replacement housing for AJ-FIREPROTECT-B and AJ-FIREPROTECTPLUS-B - Black color | 24 | 12
AJ-FIREPROTECT-W-DUMMY |  | Ajax - Replacement housing for AJ-FIREPROTECT-W and AJ-FIREPROTECTPLUS-W - White color | 24 | 12
AJ-GLASSPROTECT-B-DUMMY |  | Ajax - Replacement housing for AJ-GLASSPROTECT-B - Black color | 8 | 4
AJ-GLASSPROTECT-W-DUMMY |  | Ajax - Replacement housing for AJ-GLASSPROTECT-W - White color | 8 | 4
AJ-HUB-B-DUMMY |  | Ajax - Replacement housing for AJ-HUB-B, AJ-HUBPLUS-B, AJ-HUB2-B, AJ-HUB2-4G-B, AJ-HUB2PLUS-B, AJ-REX-B y AJ-REX2-B - Black color | 27 | 13.5
AJ-HUB-W-DUMMY |  | Ajax - Replacement housing for AJ-HUB-W, AJ-HUBPLUS-W, AJ-HUB2-W, AJ-HUB2-4G-W, HUB2PLUS-W, AJ-REX-W y AJ-REX2-W - White color | 27 | 13.5
AJ-KEYPAD-B-DUMMY |  | Ajax - Replacement housing for AJ-KEYPAD-B - Black color | 28 | 14
AJ-KEYPAD-W-DUMMY |  | Ajax - Replacement housing for AJ-KEYPAD-W - White color | 28 | 14
AJ-MOTIONCAM-W-DUMMY |  | Ajax - Replacement housing for AJ-MOTIONCAM-W - White color | 50 | 25
AJ-MOTIONCAM-B-DUMMY |  | Ajax - Replacement housing for AJ-MOTIONCAM-B - Black color | 50 | 25
AJ-MOTIONPROTECT-W-DUMMY |  | Ajax - Replacement housing for AJ-MOTIONPROTECT-W and AJ-MOTIONPROTECTPLUS-W - White color | 10.8 | 5.4
AJ-MOTIONPROTECT-B-DUMMY |  | Ajax - Replacement housing for AJ-MOTIONPROTECT-B and AJ-MOTIONPROTECTPLUS-B - Black color | 10.8 | 5.4
AJ-OUTDOORPROTECT-B-DUMMY |  | Ajax - Replacement housing for AJ-OUTDOORPROTETC-W - Color white | 32.4 | 16.2
AJ-HUBBATT-2W |  | Ajax - Backup battery for Hub, Hub Plus, Hub 2 (2G) - Voltage 3.7 V - Capacity 2000 mAh - 2-pin cable connector - Easy replacement - Check connection pins in Hub: AJ-HUBBATT-2W (2-pin) and AJ-HUBBATT-3W (3-pin) | 32 | 16
AJ-HUBBATT-4G |  | Ajax - Backup battery for Hub 2 (4G) and Hub 2 Plus - Voltage 3.7 V - Capacity 3000 mAh - 3-pin cable connector - Easy replacement | 34 | 17
AJ-HUBBATT-3W |  | Ajax - Backup battery for Hub, Hub Plus and Hub 2 (2G) - Voltage 3.7 V - Capacity 2000 mAh - 3-pin cable connector - Easy replacement - Check connection pins in Hub: AJ-HUBBATT-2W (2-pin) and AJ-HUBBATT-3W (3-pin) | 36 | 18
AJ-MAGNET-W |  | Ajax - Small and large replacement magnet for AJ-DOORPROTECT-W and AJ-DOORPROTECTPLUS-W - White color | 7.2 | 3.6
AJ-MAGNET-B |  | Ajax - Small and large replacement magnet for AJ-DOORPROTECT-B and AJ-DOORPROTECTPLUS-B - Black color | 7.2 | 3.6
AJ-MOTIONPROTECT-W-LENS |  | Ajax - Replacement lens for AJ-MOTIONPROTECT-W, AJ-MOTIONPROTECTPLUS-W, AJ-COMBIPROTECT-W, AJ-MOTIONCAM-W, AJ-MOTIONCAM-PHOD-W - White color | 2.6 | 1.3
AJ-MOTIONPROTECT-B-LENS |  | Ajax - Replacement lens for AJ-MOTIONPROTECT-B, AJ-MOTIONPROTECTPLUS-B, AJ-COMBIPROTECT-B, AJ-MOTIONCAM-B, AJ-MOTIONCAM-PHOD-B - Black color | 2.6 | 1.3
AJ-OUTDOORPROTECT-W-LENS |  | Ajax - Replacement lens for AJ-OUTDOORPROTECT-W - White color | 2.8 | 1.4
AJ-REEDSWITCH |  | Ajax - Pack of 25 Reed Switch for AJ-DOORPROTECT-W/B, AJ-DOORPROTECTPLUS-W/B | 2.22 | 1.11
AJ-SIMSLOT |  | Ajax - SIM slot for Hub, Hub Plus, Hub 2, Hub 2 Plus | 5.4 | 2.7
AJ-SPACECONTROL-W-DUMMY |  | Ajax - Replacement housing for AJ-SPACECONTROL-W - White color | 5.4 | 2.7
AJ-SPACECONTROL-B-DUMMY |  | Ajax - Replacement housing for AJ-SPACECONTROL-B - Black color | 5.4 | 2.7
AJ-STREETSIRENCUSTOM-W-DUMMY |  | Ajax - Replacement housing for AJ-STREETSIRENCUSTOM-W - White color | 54 | 27
AJ-LEDSTRIPS |  | Ajax - LED strip for AJ-STREETSIREN-W/B, AJ-STREETSIRENCUSTOM-W/B | 14.4 | 7.2
AJ-SPEAKERSS-B |  | Ajax - Speaker for AJ-STREETSIREN-W/B, AJ-STREETSIRENCUSTOM-W/B | 14.4 | 7.2
AC-EU-C7 |  | Cable with European plug - 1.5 m AC adapter - Model C7 - Figure 8 - Black color | 2 | 1
AJ-AC220V-PCB1 |  | Ajax - 220 VAC Power Module for Ajax Hub, Hub Plus and ReX - Easy installation after on-board replacement of panels | 35 | 17.5
AJ-AC220V-PCB2 |  | Ajax - 220 VAC Power Module for Ajax Hub 2, Hub 2 Plus and ReX 2 - Easy installation after on-board replacement of panels | 35 | 17.5
AJAX listino ricambi
Last update: 05/10/2023